## Variant Mapping
Project Code | Bidder / Manufacturer | Luminaire Family Name | Catalog No. / SKU | Bid Variant ID | Optic / Distribution | Wattage / Power Setting (W) | Drive Current (mA) / Driver Option | CCT (K) | CRI (Ra) | Mounting Orientation / Tilt Assumption | Photometry Format (IES/LDT/Both) | IES Filename | LDT Filename | Photometry Type (Absolute/Relative) | Scaling Instruction (if Relative) | Test Standard (LM-79 / CIE S 025 / Eq.) | Test Lab Name | ISO/IEC 17025 Accredited? (Y/N) | Accrediting Body / Scope Ref | Test Date (YYYY-MM-DD) | Test Report ID / Reference | Measured Flux (lm) | Measured Input Power (W) | Notes / Shared File Justification | Row Status
Required | Required | Required | Required | Required | Required | Required | Conditional | Required | Conditional | Required | Required | Conditional | Conditional | Required | Conditional | Required | Required | Required | Optional | Required | Recommended | Recommended | Recommended | Optional | Auto
KGLA | ABC Lighting | AreaLight Series | AL-120W-WIDE-4K | AL-WIDE-120W-4K-R02 | Wide Type V | 120 | 700mA | 4000 | 70 | Pole-top, 0° tilt | Both | KGLA_AL_WIDE_120W_4K_R02_2025-10-18.ies | KGLA_AL_WIDE_120W_4K_R02_2025-10-18.ldt | Absolute | N/A | LM-79 | XYZ Lab | Y | ANAB Scope #1234 | 2025-10-18 | LM79-25-1038 | 18000 | 120 | Example row

## Dropdowns (hidden)
PhotometryFormat | PhotometryType | ISO17025
IES | Absolute | Y
LDT | Relative | N
Both